The ADHEAR system

- Microphones

- Programme button

- Battery compartment

- Volume control

Switching ON/OFF

Close battery compartment to switch ON    Open battery compartment to switch OFF

Volume control                                          Programme button

Scroll away from head to increase volume           Press button to change programme

Positioning ADHEAR

The skin behind the ear must be clean, dry and free from hair.

Press down firmly on the entire surface of the adhesive adapter for at least 30 – 60 seconds.

The adhesive pad can be kept on when bathing, showering and other water based activities.

If you would like more Adhesive pads to be ordered please contact Audiology Department.